Tender#: CUI/ATD/35/ES (2020-2021)

| S# | Description | Quantity |
| --- | --- | --- |
| 1 | Portable Pumping Gas Detector (NO & NO2) NOX Meter: - Measuring Range 0-100 ppm. - Resolution: 0.01 ppm - Precision is 2-3% FS - Alarm with sound, light and vibration, alarm point is settable. - Large Capacity of lithium polymer battery. - Detect NO and NO2 gas concentration in the air. OR Equivalent | 01 No |