Tender#: CUI/ATD/39/Admin/02 (2020-2021)

| S# | Description | Quantity |
| --- | --- | --- |
| 1 | Supply and installation of PVC Paneling good quality with fitting for 03 rooms. (Room #1, 4.75’ height, total 390’ Approximately) (Room #2, 4.75’ height, total 390’ Approximately) (Room #3, 4.75’ height, total 580’ Approximately) Note: PVC Panel sample required along with bid | 1360 Feet (Approximately) |
| 2 | Supply and installation of roof ceiling panel complete with fitting (imported) for 03 rooms. (Room #1 Size: 14’ x 19’ = 266 sq feet Approximately) (Room #2 Size: 14’ x 19’ = 266 sq feet Approximately) (Room #3 Size: 29’ x 19’ = 551 sq feet Approximately) Note: Roof Ceiling Panel sample required along with bid | 1083 SQ Feet (Approximately) |

Important Note:

- Required to quote rate in Per SqFT along with all requirements.

- Payment will be made on actual quantity basis.