Tender: CUI/ATD/41/CHM (2020-2021)

List of Items

| S. No | Name of Item | Quantity required |  |
| --- | --- | --- | --- |
| 1 | n-Hexane (commercial grade) | 200 | Liters |
| 2 | Chloroform (commercial grade) | 200 | Liters |
| 3 | Ethyl acetate (commercial grade) | 200 | Liters |
| 4 | Acetone (commercial grade) | 50 | Liters |
| 5 | n-Butanol (commercial grade) | 30 | Liters |
| 6 | Silica Gel (230-400 mesh) | 5 | bottles |
| 7 | Silica Gel (70-230 mesh) | 5 | Bottles |
| 8 | C18-silica coated aluminum sheets (20x20 cm) Alternate name: RP18 silica coated aluminum sheets (20x20 cm) | 1 | box |
| 9 | Hydrometer for Methanol (range 40-70% aqueous methanol) | 1 | unit |
| 10 | Semi shallow China dish, glazed inside and outside, capacity 10 mL | 5 | dishes |
| 11 | Semi shallow China dish, glazed inside and outside, capacity 40 mL | 2 | dishes |
| 12 | Semi shallow China dish, glazed inside and outside, capacity 75 mL | 2 | dishes |
| 13 | Semi shallow China dish, glazed inside and outside, capacity 180 mL | 2 | dishes |
| 14 | UV Hand Lamp with dual wavelength (254/366 nm switchable), type 6W; power supply 220-240 V | 1 | unit |
| 15 | Heat gun, Bosch or Equivalent | 1 | unit |
| 16 | 22 Gauge Needle for HPLC applications (specifications: Luer hub made of plastic; needle length = 51 mm, blunt tip i.e. 90° bevel.) (Part/REF #: 90134, Hamilton) or (Part #: 7215, Rheodyne) or Equivalent | 3 | needles |
| 17 | Measuring Cylinder (Borosilicate) Capacity 50 mL | 10 | cylinders |
| 18 | Measuring Cylinder (Borosilicate) Capacity 100 mL | 10 | cylinders |
| 19 | Measuring Cylinder (Borosilicate) Capacity 500 mL | 02 | cylinders |
| 20 | Measuring Cylinder (Borosilicate) Capacity 1000 mL | 02 | cylinders |
| 21 | Conical joint clips (type KeckTM Cat. No. 1103729, Lenz Germany, or equivalent for Ground Joints NS 29/32) | 5 | clips |
| 22 | Membrane filter for water filtration, Pore size 0.45 micrometer, diameter 47 mm, 100 filters per unit, (Micropore or equivalent) | 2 | packs |
| 23 | rubber suction squeeze bulb with sharp tip (capacity: 30 mL) | 5 | units |
| 24 | rubber suction squeeze bulb with sharp tip (capacity: 60 mL) | 5 | units |
| 25 | rubber suction squeeze bulb with sharp tip (capacity: 90 mL) | 5 | units |