Tender#: CUI/ATD/42/TWAS (2020-2021)

| S. No | Description | Quantity |
| --- | --- | --- |
| 1 | Nitrogen Argon Inert Atmosphere Muffle Furnace (with Vacuum Pump) Specification: - Chamber Size: L150x W150 x H200 mm - Double Stainless Steel Chamber with fan cooling system. - Max Temp 1200oC, Working Temperature 1100oC - Kanthal / NiCr wire Heaters SSR Digital PID controlled heating system, Vacuum 0.1Mpa [1Bar] Max, Gas inlet/outlet/safety valve, gas pressure gauge, Rota flow equipped, over temp safety cutout. - Vacuum pump 0.1Mpa. | 01 No |