| SUMMARY OF COST FOR |  |  |  |  |
| --- | --- | --- | --- | --- |
| CONSTRUCTION OF OFFICES AT |  |  |  |  |
| COMSATS UNIVERSITY ISLAMABAD, ABBOTTABAD CAMPUS |  |  |  |  |
|  | Tender# CUI/ATD/45/Admin/Civil Work (2020-2021) |  |  |  |
|  | Sr.No. | DESCRIPTION |  | TOTAL AMOUNT |
|  | 1 | CIVIL WORKS | Rs. = | - |
|  | 2 | PUBLIC HEALTH | Rs. = | - |
|  | 3 | ELECTRICAL WORKS | Rs. = | - |
|  |  | GRAND TOTAL AMOUNT | Rs. = | - |
|  |  | TOTAL COVERED AREA (SFT) |  |  |
|  |  | COST PER SFT | Rs. = |  |

| COMSATS UNIVERSITY ISLAMABAD ABBOTTABAD CAMPUS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CONSTRUCTION OF OFFICES |  |  |  |  |  |
| BILL OF QUANTITY |  |  |  |  |  |
| CIVIL WORKS |  |  |  |  |  |
| S# | Description | Qty | Unit | Rate | Amount |
| 1 | Dismantling |  |  |  |  |
|  | Dismantling the existing upper portion of two columns for one feet height to over lap the reinforcement. stacking of serviceable material and disposal of un-serviceable material surplus material of the project area from site as per instruction of the Engineer Incharge. | 2 | Lumsum |  |  |
| 2 | Excavation |  |  |  |  |
|  | Excavation in all kind of soil upto required depth for foundation and etc. and stacking of excavated material clear of edge of excavation, after excavation leveling and compaction test including timbering shoring if required, back filling in layers and dewatering & compaction as specified and disposal of surplus excavated material out of project area any lead as per drawings, technical provisions and instructions of the Engineer Incharge. | 250 | Cft. |  |  |
| 3 | Earth Filling |  |  |  |  |
|  | Supplying / filling local earth from approved sources with all leads and lifts in or under floor, including watering and consolidation by ramming in layers not exceeding 9" inch depth leading to full compaction at least 95% AASHTO, (compacted measurement), as per drawings, technical provisions and instructions of the engineer incharge. | 200 | Cft |  |  |
| 4 | P.C.C (1:4:8) |  |  |  |  |
|  | Providing and laying 1:4:8 cement concrete using graded crushed stone 3/4" (19mm) down (Margalla crush) and down gauge and lawrancepur sand as per specification in foundation including levelling, compacting and curing etc. complete as directed by Engineer Incharge. |  |  |  |  |
| a) | Under foundation | 40 | Cft |  |  |
| b) | Under flooring | 85 | Cft |  |  |
| 5 | R.C.C (1:2:4) |  |  |  |  |
|  | Providing and laying reinforced cement concrete using screened crushed stone (Margalla) graded aggregate 3/4" (19mm) and down gauge and Lawarancepur sand as per specification having a minimum works cylinder crushing strength of 3000 lbs. per sq inch (psi) (21 MPa) at 28 days with a mix not leaner than 1:2:4, including form work and its removal, compacting, leveling and curing etc. complete but excluding the cost of reinforcement as directed by the Engineer Incharge. |  |  |  |  |
| a) | Column | 25 | Cft |  |  |
| b) | Beams & Lintels | 70 | Cft |  |  |
| c) | Slab | 25 | Cft |  |  |
| 6 | Cement Concrete Floor |  |  |  |  |
|  | Providing and laying floor of 2" (50mm) thick 1:2:4 cement concrete using graded screened bajri 3/4"(19mm) and down gauge in ground floor laid in panels including form work, consolidation, steel trowel finished, and curing etc. Complete in all respects as per drawing and as directed by the Architect /Engineer Incharge. | 255 | Sft |  |  |
| 7 | Marble Patti |  |  |  |  |
|  | providing and laying 1/2" (13mm)thick marble patties (panel strips) up to 1-1/2"(38mm) depth in floor or as directed by the Engineer Incharge. | 140 | Rft |  |  |
| 8 | Reinforcement |  |  |  |  |
|  | Providing and laying M.S deformed steel reinforcement bars with minimum yield stress of 40000 Psi (grade 40) including the cost of straightening, cutting, bending, binding, wastage, over laps, chairs and etc. complete in all kinds of R.C.C work and as directed by the Engineer Incharge. | 240 | Kgs |  |  |
| 9 | Brick Masonry in Foundation |  |  |  |  |
|  | Providing and laying first class solid burnt brick massonary set in cement mortor 1:5 for arches in straight or curved wall (9"to 22 1/2") thick including scaffolding, form work and its removal, raking, out joints, and curing etc. complete in ground as directed by the Engineer Incharge. | 150 | Cft |  |  |
| 10 | Brick Masonry in Super Structure |  |  |  |  |
|  | Providing and laying first class solid burnt brick massonary (minimum crushing strength of brick 1200 psi.) set in cement mortor 1:5 for arches in straight or curved wall 9" to 13 1/2" (229 mm to 343 mm) thick including the cost of reinforcement 2 nos. #3 horizontal bars on every 4th course including straightening ,cutting ,bending ,binding wastage, overlaps, scaffolding, form work and its removal, raking, out joints, and curing etc. complete in ground as directed by the Engineer Incharge. | 520 | Cft |  |  |
| 11 | Plaster Internal |  |  |  |  |
|  | 1/2" (13 mm) thick cement plaster 1:4 on soffits of ceiling cantilever slabs, sides and suffits of beams, slabs and R.C.C. wall etc. in ground floor including making edges, corner, curing and scaffolding etc. complete as directed by the Engineer Incharge. | 1100 | Sft |  |  |
| 12 | Plaster at Exterior Wall Surface |  |  |  |  |
|  | 3/4" (19 mm) thick cement plaster 1:4 on soffits of ceiling cantilever slabs, sides and , and R.C.C. wall etc. in ground floor including making edges, corner, curing and scaffolding etc. including Providing and fixing chicken mesh with nails over all joints of wall with columns, beams and slab, complete as directed by the Engineer Incharge. | 720 | Sft |  |  |
| 13 | Plastic Emulsion |  |  |  |  |
|  | Painting with (ICI,Berger,Nipon or approved equivalent) Dulux Vinyl emulshion paint VIP of approved shade three coats over primer and including the cost of clearing the surface sand papering etc. and one primer coat (wall putty of ICI, Berger or approved equalent) complete over plastered surface at any height in any floor. or as directed by the Engineer incharge. | 1000 | Sft |  |  |
| 14 | Paint on Wood/Metal Surface |  |  |  |  |
|  | Providing and applying two coat of Paint on wood /Metal surface included primer prepering surface, filling with approved putty,rubbing,cleaning etc or as directed by the Engineer incharge | 180 | Sft |  |  |
| 15 | Weather shield |  |  |  |  |
|  | Painting three coats of weather shield paint (ICI/Berger/Nippon or approved equivalent) of approved shade on plastered surface (External walls) including projection soffits the cost of clearing the surface, sand papering etc. complete at any height in any floor and as directed by the Engineer Incharge. | 720 | Sft |  |  |
| 16 | Marble (Skirting) |  |  |  |  |
|  | Providing and fixing best quality Boticina /Parlino marble or equivalent of approved colour in best quality size (30cm x 30cm x 2cm) and (30cm x 15cm x 2cm) as approved equivalent, over (1:3) cement sand mortar base under coat including, cutting, grinding and chemical polishing after fixing, complete in all respects, as per drawing or as directed by the Engineer Incharge. | 80 | Rft |  |  |
| 17 | Ceramic Tiles (Bath walls) |  |  |  |  |
|  | Providing and fixing glazed ceramics tiles in approved shade & colour (30cm x 45cm), (Master / Shabbir / Sonex or approved equivalent) laid over 3/4" (19mm) thick cement mortar base 1:2 (one cement 2 sand) including fixing and jointing, with colour grout mix and curing etc.complete in all respects, as per drawing or as directed by the Engineer Incharge. | 170 | Sft. |  |  |
| 18 | Matt Finish Tiles (Bath Floor) |  |  |  |  |
|  | Providing and fixing coloured glazed matt finish, non-skid tiles (30cm x 45cm), (Master / Shabbir / Sonex or approved equivalent) laid over 1" thick cement sand mortar bed 1:2 (one cement 2 sand) including fixing and jointing, with colour grout mix and curing etc.design pattern, complete in all respects, as per drawing or as directed by the Engineer Incharge. | 80 | Sft. |  |  |
| 19 | Marble On Stairs |  |  |  |  |
|  | Providing and fixing approved quality Boticina / Parlino marble slab 2.5cm thickness with nosing as approved equivalent, pre-chemical polished approved colour, on stair, laid over (1:3) cement sand mortar bed under coat including, cutting, grinding at any floor, any height etc. complete in all respects, as per drawing and as directed by the Architect/ Engineer Incharge. |  |  |  |  |
| a) | Tread 1" | 10 | Sft |  |  |
| b) | Riser 1/2" | 5 | Sft |  |  |
| 20 | Solid (Flush) Door |  |  |  |  |
|  | Providing and fixing 1½" thick solid flush doors with commercial ply 3mm on both faces of deodar wood shutter frame 1¼" thick and partal wood braces at about 3" apart and deodar wood lipping beading 1½" x 3/8" including brass hinges 5" long of approved best quality , including paint two coats with primer (ICI / Berger) except chowkat.Complete in all respects and as directed by Engineer Incharge. | 100 | Sft |  |  |
| 21 | Kick Plates |  |  |  |  |
|  | Providing and laying 22 gauge aluminium kick plate 24" (60cm) high fixed with screw 4" (10cm) c/c on bottom rail of flush door only on commercial flush door. Complete in all respects as per drawings & specifications and or as directed by Engineer Incharge. | 30 | Sft |  |  |
| 22 | Sliding Bolt |  |  |  |  |
|  | Providing and fixing of brass sliding bolt of approved best quality for doors 10" long. Complete in all respects and as directed by Engineer Incharge. | 2 | Each |  |  |
| 23 | Tower Bolt |  |  |  |  |
|  | Providing and fixing of brass tower bolt of approved best quality for doors 10" long. Complete in all respects and as directed by Engineer Incharge. | 4 | Each |  |  |
| 24 | Door Handle |  |  |  |  |
|  | Providing and fixing best quality door handle as per approval .Complete in all respects as per drawings & specifications and or as directed by Engineer Incharge. | 10 | Nos. |  |  |
| 25 | Wooden Beeding |  |  |  |  |
|  | P/F deodar wood beeding 2 1/2"x1/2" thick i/c hardware (architrave )around the door chowkat with polishing etc.Complete in all respects as per drawings & specifications and or as directed by Engineer Incharge. | 50 | Rft |  |  |
| 26 | MS / Steel Chowkats |  |  |  |  |
|  | Supply and fix steel chowkats press moulded 16 SWG for 9" & 4-1/2" th walls complete including hold fasts, ties for lateral movement P.C.C (1:2:4) caving filling etc including the cost of two coat of enamel paint.and one coat of primer red oxide | 75 | Rft |  |  |
| 27 | Suspended Acoustic Ceiling |  |  |  |  |
|  | Providing & fixing 2' x 2' acoustic boards NRC range 0.80 with powder coating imported aluminium channels with galvanized steel wires 12 SWG hanging system, complete in all respects and as directed by the Architect / Engineer Incharge. | 260 | Sft |  |  |
| 28 | Steel Windows & Ventilator |  |  |  |  |
|  | Supply and fixing the 16 SWG steel tube pipe/box sectios not exceeding 1.48Sqm super each with openable /fixed panels frame sections sashes with all necessary steel fitting/iron mongrey ,holdfast etc, and two coats of sythentic enamel paint but except glass panes and wire gauze and including 5mm glass complete in all respect. | 80 | Sft. |  |  |
| 29 | Iron Grills (Safety Grill) |  |  |  |  |
|  | Supply and fix guard bars, grills, railing, hooks, hold fast and frames etc; cut to dead length, reduced to size, shape, figure etc; including punching/drilling holes if necessary and fixing, assembling by welding or with the use of bolts, nuts, rivets washers etc; and erection/fixing in position including making good the disturbed surfaces including the one coat of primer/rust proof and two coat of enamel paint (ICI, Berger , Nipon or approved equivalent) as per design and direction of Engineer Incharge. | 72 | Sft |  |  |
| 30 | Rain Water Pipe |  |  |  |  |
|  | Providing and fixing 4" (100 mm) dia UPVC (Dadex or approved equivalent) rain water down pipe with bolts and fixed in cement concrete 1:2:4 including the cost of all fitting etc.complete in all respects, as per drawing or as directed by the Engineer Incharge. | 10 | Rft |  |  |
| 31 | Truss |  |  |  |  |
|  | Providing and installing for complete steel structural works with trusses, beams, gurders, joists, cleasts, angles, purlins, tee section , gusset plates , base plates , bolts and channel with all required accessories and one coat of red oxide and two coats of enamel (ICI , Berger or approved equivalent) paints etc.as specified and as shown on the drawings . Complete in all respect as per drawings, plans and or as directed by the Engineer Incharge . | 300 | Kgs |  |  |
| 32 | Galvanized Corrugated Steel Sheet |  |  |  |  |
|  | Providing, fabricating and fixing in position, galvanized corrugated steel sheets, 26 SWG in thickness, including steel and rubber washers ‘J’ bolts and nuts over roof sheeting and trusses complete in all respects as per drawings or as directed by the Engineer. | 420 | Sft |  |  |
| 33 | Facia Board |  |  |  |  |
|  | Providing and installing of Facia boards complete comprising of M.S pipe frame 1"x1" 20 SWG including threee coats of enamel paint and covered with 26 SWG prepainted coloured M.S sheet with all required accessories etc. as specified and as shown on the drawing complete in all respect or as directed by the Engineer. | 90 | Sft |  |  |
| 34 | Water Drainage Gutter |  |  |  |  |
|  | Providing, fabricating and fixing in position, galvanized plain sheet water drainage gutters 6" radius, 20 SWG in thickness including steel and rubber washers bolts and nuts to specified geometry including end receiving box complete in all respects as per drawings or as directed by the Engineer. | 25 | Rft |  |  |
|  | Total Amount |  |  |  | - |

| COMSATS UNIVERSITY ISLAMABAD ABBOTTABAD CAMPUS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CONSTRUCTION OF OFFICES |  |  |  |  |  |
| BILL OF QUANTITY |  |  |  |  |  |
| PUBLIC HEALTH WORKS |  |  |  |  |  |
| S# | Description | Qty | Unit |  |  |
|  |  |  |  | Rate | Amount |
|  | FITTING AND FIXTURES:- |  |  |  |  |
| 1 | Supply and fix water closet Asiatic pattern best quality Shabir, Master or equivalent complete with closet foot rest (white) 13 liters flushing cistern low down flush pipe etc; any size or mark, fixed to concrete, brick, stone, or woodwork, Pak made in white colour (Export quality or equivalent). | 2 | No. |  |  |
| 2 | Supply and fix wash hand basin in light colour with pedestal glazed ware 650mm long, one hole complete with waste pipe, coupling, chain and plug, best quality Pak made Shabir, Master or Equlant fixed to concrete, brick, stone or woodwork.Pak made Shabir, Master or Equlant (Export or equivalent quality). | 2 | No. |  |  |
| 3 | Supply and fix towel rail, chromium plated, single rod any pattern, shape and size Pak made complete with plugs, screws etc fixed to concrete, stone, brick or woodwork. | 2 | No. |  |  |
| 4 | Supply and fix soap/sponge tray any shape pattern and size Pak made complete with plugs, screws etc fixed to concrete, stone or woodwork. | 2 | No. |  |  |
| 5 | Supply and fix toilet paper holder any shape pattern and size foreign made complete with plugs, screws etc foxed to concrete, stone or woodwork. | 2 | No. |  |  |
| 6 | Water taps 1/2" dia heavy pattern chromium plated screw in any type complete of Baig/Faisal/Asia. | 2 | No. |  |  |
| 7 | Supply and fix mirror any shape and pattern 5mm thick of sizes, Balgium made edges ground, complete fixed to concrete, brick, stone or woodwork including Aluminum frame and Lasany wood used on the back of the mirror. | 8 | Sft |  |  |
| 8 | Bib cock Master chromium plated fancy type screwed down BSP, 15mm dia supply and fixing. | 12 | No. |  |  |
| 9 | Supply and fix 100mm dia floor trap including reducer etc complete. | 2 | No. |  |  |
| 10 | Supply and fix casted grating chromium plated 100mm x 100mm. | 2 | No. |  |  |
| 11 | Excavation for pipe lines, trenches and structures upto any depth in all type of size including back filling with excavated materials compacting ramming including shoring de-watering if any required and disposal of surplus earth to areas as specified, spreading, levelling and dressing etc. complete as per drawings and technical provisions. | 30 | Cft |  |  |
| 12 | Providing and fixing of class "D" Upvc Dadex or approved equivalent vent pipe of best quality sanitary waste , vent etc pipe including sockets, bends, Tees etc. complete as approved by the Engineer Incharge. |  |  |  |  |
|  | a) 75 mm dia | 30 | Rft |  |  |
|  | b) 100 mm dia | 25 | Rft |  |  |
|  | c) 150 mm dia | 40 | Rft |  |  |
| 13 | Providing and construction manhole size 1.5 feet x 1.5 feet (inside dimensions) x 1.5 feet deep as per approved design and specifications complete 4 inches to 12 inches , with R.C.C (1:2:4) top slab 3" thick ,8 inches thick solid block masonry walls cement mortar (1:4) 4 inches thick P.C.C (1:2:4) in foundation,1/2 inch (13mm) thick cement plaster in 1:4 c.m. to both sides wall surfaces, including the cost of excavation, back filing, disposal of excavated stuff Complete in all respects, as per drawing and as directed by the Engineer Incharge. | 1 | No. |  |  |
| 14 | Supply and fix manhole cast iron cover with frame 450mm circular or rectangular set in cement mortar and haunching in concrete as specified. | 1 | No. |  |  |
|  | WATER SUPPLY INSTALLATIONS:- |  |  |  |  |
| 15 | Cold Water Supply |  |  |  |  |
|  | Providing and Laying DADEX 'PPR' pipe with all fittings (i.e. sockets, bends, tees, elbows where required) and laid complete in trenches (exclusive of excavation) or fixed to walls, ceilings and floors etc including caps and plugs as required supply and fixing. |  |  |  |  |
|  | a) 25mm dia | 170 | Rft. |  |  |
|  | b) 20mm dia | 45 | Rft. |  |  |
| 16 | Hot Water Supply |  |  |  |  |
|  | Providing and Laying DADEX 'PPR' pipe with all fittings (i.e. sockets, bends, tees, elbows where required) and laid complete in trenches (exclusive of excavation) or fixed to walls, ceilings and floors etc including caps and plugs as required supply and fixing. |  |  |  |  |
|  | a) 25mm dia | 30 | Rft. |  |  |
|  | b) 20mm dia | 30 | Rft. |  |  |
| 17 | Gunmetal Valve |  |  |  |  |
|  | Providing and fixing full way gun metal valves with threaded or flanges ends with rubber washer for smooth operation quality or as approved by the Engineer Incharge. |  |  |  |  |
|  | a) 25mm dia valve | 1 | No. |  |  |
|  | b) 20mm dia valve | 1 | No. |  |  |
| 18 | Over Head Water Tank |  |  |  |  |
|  | Providing and fixing of Master or approved equivalent fiber glass water tank (Double ply) at top roof, including cost of P.P.R.C. pipes, valves (washout, air release, inlet and outlet) sleeves, specials, float valve cover, etc. with all fitting complete approved quality including testing, complete in all respect as per drawings and as directed by the Engineer incharge. |  |  |  |  |
|  | 300 Gallon | 1 | No. |  |  |
|  | Total Amount |  |  |  | - |

| COMSATS UNIVERSITY ISLAMABAD ABBOTTABAD CAMPUS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTRUCTION OF OFFICES |  |  |  |  |  |  |
| BILL OF QUANTITY |  |  |  |  |  |  |
| ELECTRICAL WORKS |  |  |  |  |  |  |
| S# | Description |  | Qty | Unit |  |
|  |  |  |  |  | Rate | Amount |
| E-01 | Supply, installation, testing & commissioning of circuit wiring from distribution board to the nearest switch board point to be wired with 3xsingle core 2.5mm sq (7/.029) PVC insulated 300/500 volt grade copper wire (Phase Neutral & Earth) in and including cost of appropriate size of heavy duty PVC conduit (min size 20mm dia) recessed in walls, columns, floors, slabs or as required as per site conditions complete with all PVC conduit accessories such as pull boxes, junctions boxes, sockets, bends, steel pull wire and complete in all respects. Each circuit shall have independent insulated green colour copper wire as earth conductor. |  | 2 | Job |  |  |
| E-02 | Wiring for one light point controlled by one switch and wired with 3xsingle core 1.5mm sq (3/036) PVC insulated, 300/500 volt grade copper wire (Phase & Neutral) in and including cost of appropriate size of heavy duty PVC conduit (min size 20mm dia) partly shared recessed in walls, columns, floors, slabs or as required as per site conditions including all conduit accessories such as steel pull boxes, PVC junction boxes for ceiling and wall, sockets & bends also steel pull wire. Complete in all respects with final testing and commissioning. |  | 4 | Point |  |  |
| E-03 | Same as item E-02 mentioned above but for ceiling fans including cost of fan hook as per sketch/drawing attached and as approved by Engineer Incharge. |  | 2 | Point |  |  |
| E-04 | Same as item E-02 mentioned above but for Exhaust Fan |  | 2 | Set |  |  |
| E-05 | Same as item E-02 mentioned above but wiring for one 3 pin 5 AMP socket from nearest switch board or from nearest 15 Amp socket . Complete in all respect with final testing and commissioning. |  | 2 | Each |  |  |
| E-06 | Wiring for one 3 pin 15 AMP socket direct from DB with 3xsingle core 4mm sq (7/036) PVC insulated, 300/500 volt grade copper wire (Phase, Neutral & Earth) in and including cost of 25mm dia heavy duty PVC conduit recessed in walls, columns, floors, slabs or as required as per site condition including all conduit accessories such as sockets, bends, steel wire pull boxes and complete in all respects with final testing and commissioning. |  | 2 | Each |  |  |
| E-7 | Supply and installation of 5 amps piano type switch gang plate as specified & approved by Engineer-in-Charge with appropriate size of back steel box 16SWG with earth terminal, two coats of antirust paint fixed recessed in wall including all fixing accessories and of following types: |  |  |  |  |  |
|  | b. | 2 – gang switch plate | 2 | Each |  |  |
|  | c. | 3 – gang switch plate | 2 | Each |  |  |
|  | d. | 4 – gang switch plate | 1 | Each |  |  |
| E-8 | Supply and installation Hum free regulator as specified and approved by Engineer-in-Charge complete with back steel box of appropriate size with two coats of antirust paint fixed recessed in wall including all fixing accessories. |  | 2 | Each |  |  |
| E-9 | Supply and installation of 3 pin switch socket combined unit as specified and approved by Engineer-in-Charge with appropriate size of back steel box 16SWG, two coats of antirust paint, fixed recessed to walls or ceiling including all fixing accessories and of the following types:- |  |  |  |  |  |
|  | a. | 3 pin 5Amps switch socket unit | 2 | Each |  |  |
|  | b. | 3 pin 15Amps switch socket unit | 2 | Each |  |  |
| E-10 | Supply, installation testing and commissioning of spot light light fixture ceiling mounted complete with housing, holder and with 18 watt comptalux lamp and as approved by Engineer-in-Charge/Architect. |  | 4 | Each |  |  |
| E-11 | Supply, installation, testing and commissioning of LED light 40 watt recessed in wall complete in all respects. |  | 2 | Each |  |  |
| E-12 | Supply, installation, testing and commissioning of ceiling fans, AC capacitor type complete with hanging rod, canopy, blades, nuts and bolts and of specified make including cost of all necessary materials and complete in all respects and of the following sizes: |  |  |  |  |  |
|  |  | 56" Sweep | 2 | Each |  |  |
| E-13 | Supply, installation, testing and commissioning of exhaust fans of following sizes complete with frame and of specified make including cost of all necessary materials and complete in all respects with all civil works such as dismantling and making good the same as directed by Engineer-in-Charge and also including fly-mesh/louvre as approved by Engineer-in-Charge: |  |  |  |  |  |
|  |  | 12" dia with steel body | 2 | Each |  |  |
| E-14 | Supply, installation, testing and commissioning of multicore, stranded conductor copper cable, 600/1000 volt grade PVC, insulated, PVC sheathed as specified in pre-laid conduit, trenches or on cable trays as per route shown on drawings or as directed by Engineer-in-Charge including cost of all necessary materials, termination at both ends, cable lugs and of the following sizes: |  |  |  |  |  |
|  | Multicore, Nonarmoured, PVC insulated & PVC Sheathed |  |  |  |  |  |
|  | a. | 1 x 4 core 16mm sq | 70 | Rft |  |  |
|  | b. | 1 x 4 core 25mm sq | 25 | Rft |  |  |
| E-15 | Supply, installation, testing of PVC heavy duty conduit as specified concealed in RCC slabs, walls, floors columns or fixed to slab, wall above false ceiling as per site conditions including cost of all conduit accessories, steel pull boxes, pull wire, junction boxes and complete in all respects and of the following sizes: |  |  |  |  |  |
|  | a. | 25mm (1") dia | 30 | Rft |  |  |
|  | c. | 50mm (2") dia | 50 | Rft |  |  |
| E-16 | SUB-MAIN PANEL BOARD |  |  |  |  |  |
|  | Supply, installation, testing and commissioning of factory fabricated Sub-Main Panel Boards free standing/wall mounted type made of M.S sheet 14 SWG degreased, derusted, zinc phosphated finished with electrostatic powder coating, of approved colour with hinged door, lockable handle, protection plate, earth and neutral strip, complete internally wired, flexible earthing strap for door manufactured by any one of the approved manufacturers as specified and comprising as under: |  |  |  |  |  |
|  | SMPB -N |  | 1 | Nos. |  |  |
|  | INCOMING |  |  |  |  |  |
| - | 1x80 AMP, TP, MCCB, 25KA with O/L & S/C Protection. |  |  |  |  |  |
| - | 4 x copper busbars of 100 AMP ratings. |  |  |  |  |  |
| - | Digital Voltmeter with phase selector switch |  |  |  |  |  |
| - | Indication lights Red, Yellow, Blue. |  |  |  |  |  |
|  | OUTGOING |  |  |  |  |  |
|  | 2 x 60 AMP, TP, MCCB, 15KA with O/L & S/C Protection. |  |  |  |  |  |
|  | 1 x 40 AMP, TP, MCCB, 15KA with O/L & S/C Protection. |  |  |  |  |  |
|  |  |  |  |  | Total Rs. | - |