CUI/ATD/10/LiScent/RO Plant (2021-2022)

| Sr. No. | Items Specifications | Required Quantity |
| --- | --- | --- |
| 01 | Supply and installation of RO Plant for drinking water with 3000GPD (Gallon per day) Technical Specifications: - Water Producing Capacity: 3000GPD (Gallon per day) with mineral dosing Ca, Mg, Na, K with WHO Specification. - Output water pH 6.5-8.5. - Filling Station Table (Auto/Manual). - Bottles for filling of 5 gallons capacity (100 PCS Food grade Material). - Turbidity: 3.0 NTU - Working Environment: 5°C -45°C. - Voltage: 220V, 50Hz. - Effluent Standards: Feed water conductivity <1000us/cm, water conductivity S10us/cm (desalting rate is 98-99.8%) - Manufacturer Warranty: One Year - Supply and Installation - Installation Conditions: Interior Installation - After Sale Services required. | 01 No |