CUI/Atd/31/Biotech (2020-2021)

| Sr. No. | Items Specifications | Required Quantity |
| --- | --- | --- |
| 01 | Ph Meter (Benchtop) Specifications - Benchtop - Can measure pH range from 0 - 14 - LCd display - Also show value in mV | 01 No |
| 02 | Indoor monitor for VOCs and formaldehyde - Can monitor formaldehyde from indoor environment range from 0-4mg/m3. - Can monitor total volatile organic compounds (TVOCs) including benzene from indoor environment range from 0 -12 mg/m3 - LCD display - With rechargeable Battery and charger | 01 No |
| 03 | Orbital shaker - Small size can hold 6-8 flasks - 20-400 RPM - Digital display - Time control function | 01 No |
| 04 | Power Supply for electrophoresis - Application for DNA/RNA electrophoresis, SDS-PAGE - Two to four sets of output terminals for running of multiple electrophoresis unit - Multiple programmable options - Output range: 10 – 250 volts - LCD display | 01 No |
| 05 | UV lamp - Suitable for TLC analysis - Have two UV lamps of 254 and 365 nm wavelength | 01 No |
| 06 | Gas Tight Syringe - Suitable for sampling of gases - Capacity 3-15 ml - Made of glass and Teflon - Can lock the gasses inside syringe | 01 No |